## Vertikální
ENERGY Control Systems s.r.o. Mezi vodami 1903/17a 143 00 Praha 4
Ceník
Typ | Název | Výkon | Cena bez DPH a bez dopravy
| H12 | 200W | 6000
|  | 300W | 7440
|  | 400W | 8640
|  | 500W | 11040
|  | 600W | 15600
|  | 800W | 18432
|  | 1KW | 23088
|  | 1.5KW | 28440
| H12 | 2KW | 48576
|  | 3KW | 74088
|  | 5KW | 127392
|  | 10KW | 201888
|  | 20KW | 414840
|  | 30KW | 674112
|  | 50KW | 1274184
|  | 100KW | 2489112
|  | 200KW | 4770864
| H530 plus | 400W | 12480
|  | 500W | 18960
|  | 600W | 22536
|  | 800W | 36768
|  | 1KW | 40320
|  | 2KW | 74160
|  | 3KW | 112608
|  | 5KW | 171480
|  | 10KW | 367440
|  | 20KW | 596400
|  | 30KW | 881760
| HLK33 | 400W | 10800 | 276.5714 | 259.2857 | 3blades，Three-phase AC external rotor generator
|  | 600W | 19600 | 535.8571 | 501.2857
|  | 800W | 28500 | 795.1429 | 760.5714
|  | 1KW | 34400 | 968 | 933.4286
| HS503 | 100W | 5040 | 138.2857 | 129.6429 | three-phase AC permanent magnet levitation generator
|  | 200W | 5700 | 155.5714 | 146.9286
|  | 300W | 6300 | 172.8571 | 164.2143
|  | 400W | 6900 | 190.1429 | 181.5
| X3、HS310 | 100W | 4500 | 121 | 112.3571 | Three-phase AC permanent magnet levitation generator
|  | 200W | 5040 | 138.2857 | 129.6429
|  | 300W | 5700 | 155.5714 | 146.9286
|  | 400W | 6300 | 172.8571 | 164.2143
| X5 | 400W | 10400 | 293.8571 | 285.2143 | Three-phase AC permanent magnet levitation generator
|  | 500W | 11600 | 328.4286 | 319.7857
|  | 600W | 12800 | 363 | 354.3571
| X9 | 800W | 25800 | 726 | 691.4286 | Three-phase AC permanent magnet levitation generator ,AddAssist the wind wheel cost is USD 40
|  | 1KW | 28800 | 812.4286 | 777.8571
| Q1、Q2 | 100W | 5500 | 155.5714 | 146.9286 | 3 blades+Assist the wind wheel, the cost of top ball is USD15
|  | 200W | 6300 | 172.8571 | 164.2143
|  | 300W | 7100 | 198.7857 | 190.1429
| Q4 max | 400W | 8900 | 242 | 224.7143 | 3 blades+Assist the wind wheel, the cost of top ball is USD15
|  | 500W | 10100 | 276.5714 | 259.2857
| Q5 max | 600W | 18400 | 535.8571 | 518.5714 | 3 blades+Assist the wind wheel, the cost of top ball is USD30
|  | 800W | 25100 | 674.1429 | 622.2857
|  | 1KW | 36800 | 1019.8571 | 950.7143
|  | 2KW | 56900 | 1607.5714 | 1555.7143
|  | 3KW | 94900 | 2679.2857 | 2592.8571
|  | 5KW | 160500 | 4407.8571 | 4148.5714
| Small spiral type | 100W | 5400 | 146.9286 | 138.2857 | permanent magnet levitation generator2blade, If assemled, the cost will be added 10
|  | 200W | 6300 | 172.8571 | 164.2143
|  | 300W | 7100 | 198.7857 | 190.1429
| Small spiral type | 100W | 3900 | 103.7143 | 95.0714 | permanent generator 2blade, If assemled, the cost will be added 10
|  | 200W | 4500 | 121 | 112.3571
| big spiral | 200W | 9200 | 250.6429 | 233.3571 | 2blade, If assemled, the cost will be added 25, it has to be packed by carton three -phase AC permanent magnet levitation generator
|  | 300W | 9800 | 267.9286 | 250.6429
|  | 400W | 10700 | 293.8571 | 276.5714
| big spiral | 800W | 36800 | 1019.8571 | 968 | 2blade, If assemled, the cost will be added 26, it has to be packed by carton three -phase AC permanent magnet levitation generator
|  | 1KW | 39800 | 1106.2857 | 1054.4286
| big spiral | 200W | 8700 | 233.3571 | 216.0714 | 2blade, If assemled, the cost will be added 25, it has to be packed by carton
|  | 300W | 9200 | 250.6429 | 233.3571
|  | 400W | 10100 | 276.5714 | 259.2857
|  | 100W | 2800 | 74.3286 | 69.1429
|  | 200W | 3000 | 81.2429 | 74.3286
|  | 300W | 3200 | 86.4286 | 79.5143
| Latern | 100W | 3500 | 100.2571 | 96.8 | 5blades, white and red color
|  | 200W | 3700 | 103.7143 | 100.2571
|  | 300W | 3900 | 107.1714 | 103.7143
|  | 400W | 4100 | 112.3571 | 107.1714

## Elektronika
ENERGY Control Systems s.r.o. Mezi vodami 1903/17a 143 00 Praha 4
Ceník
zařízení | Výkon | voltáž | Cena bez DPH a dopravy | Obr
MPPT Controller | 200W | 12V | 480 | /
| 400W | 12V | 480
| 300W | 12V | 640
| 600W | 24V | 640
| 400W | 24V | 1000
| 800W | 24V | 1000
MPPT-48V- controller | 400W | 48V | 680
| 500W | 48V | 840
| 600W | 48V | 960
| 800W | 48V | 1150
| 1000W | 48V | 1250
PWM controller | 200W | 12V | 360
| 400W | 12V | 360
| 300W | 12V | 560
PWM controller | 600W | 24V | 560
| 400W | 24V | 900
| 800W | 24V | 900
| 1KW | 24V | 1550
PWM-48Vcontroller | 1KW | 48V | 2450
| 1.5KW | 48V | 3200
| 2KW | 48V | 3800
PWM-96Vcontroller | 1KW | 96V | 3800
| 2KW | 96V | 4500
| 3KW | 96V | 5550
| výkon（vítr+FVE） | Voltáž |  | Obr.
12V/24V controller | 200w+100w | 12v | 3120 | PWM
| 400w+200w | 24v | 3120 | PWM
| 300w+100w | 12v | 3450 | PWM
| 600w+200w | 24v | 3450 | PWM
| výkon（vítr+FVE） | Voltáž
PWMcontroller | 300w+150w | 12v | 3800 | LCDdisplay、MPPT
| 600w+300w | 24v | 3800 | LCDdisplay、MPPT
| 400w+150w | 12v | 4500 | LCDdisplay、MPPT
| 600w+300w | 48v | 4500 | LCDdisplay、MPPT
| 1kw+300w | 48v | 7300 | LCDdisplay、MPPT
MPPT controller | 300w+150w | 12v | 4500 | LCDdisplay、MPPT
| 600w+300w | 24v | 4500 | LCDdisplay、MPPT
| 600w+300w | 48v | 5200 | LCDdisplay、MPPT
| 300W+200W | 12v | 4200 | LCDdisplay、MPPT
| 500W+300W | 24v | 4200 | LCDdisplay、MPPT
| 800W+400W | 48v | 4900 | LCDdisplay、MPPT
controller a vyrovnání zátěže | 1kw | 24v | 9700 | LCDdisplay、MPPT
| 1kw | 48v | 9100 | LCDdisplay、MPPT
| 2kw | 48v/120v | 11400 | LCDdisplay、MPPT
| 3kw | 48v/120v | 13900 | LCDdisplay、MPPT
| 5kw | 48v | 31200 | LCDdisplay、MPPT
| 5kw | 120v/240v | 27700 | LCDdisplay、MPPT
| 10kw | 120v | 48400 | LCDdisplay、MPPT
| 10kw | 240v | 47000 | LCDdisplay、MPPT

## 调价汇总 (hidden)
1：S系列除S2结算价不变以外，S3/S5结算价调增10元，其他S系列调增5元，销售最低限价不统一调整，根据客户情况单独沟通处理。
2：M5/M6玻璃钢风叶结算价和最低售价调增100元/台。
3：拉索塔架价格重新核定调整。
4：永磁发电机：重新分类重新定价
5：Q、H垂直轴风力发电机亏损严重，目前暂不调价，其中利润率低于-5%以下的型号谨慎销售，单笔订单超过5台，需单独汇报审批同意再下单。
2022.01